## README
Notes
; | indicates parallel treatment trains tested in pilot study
Treatment trains listed are reported to the detail that the source provides.
Type of chemical post-treatment or chlorination is often not specified.
As facilities undergo expansions or upgrades, treatment trains amn capacities are subject to change.
ACRONYMS
BAC | Biologically Active Carbon
BAF | Biologically Active Filtration
Cl | Hypochlorite (used in AOP)
DPR | Direct Potable Reuse
GAC | Granular Activated Carbon
GW | Groundwater
H2O2 | Hydrogen Peroxide
IEX | Ion Exchange
IPR | Indirect Potable Reuse
LPRO | Low Pressure Reverse Osmosis
m3d | Cubic meters per day
MBR | Membrane Bioreactor
MF | Microfiltration
mgd | Million gallons per day
NF | Nanofiltration
RO | Reverse Osmosis
SBR | Sequencing Batch Reactors
SW | Surface Water
UF | Ultrafiltration
UV | Ultraviolet Radiation
UV/AOP | Ultraviolet Radiation Advanced Oxidation Process

## General Characteristics
Project Name | State | Reuse Type | Year Operational | Augmentation Type | Augmentation Method | Capacity (mgd) | Capacity (m3d) | Status | Treatment | Sourcewater
Montebello Forebay County Sanitation Districts of Los Angeles County | CA | IPR | 1962 | GW | spreading basins | 44 | 166540 | Operational | Soil-aquifer Treatment | tertiary effluent
Upper Occoquan Service Authority | VA | IPR | 1978 | SW |  | 54 | 204390 | Operational | Rapid Mix - Flocculation - Sedimentation - Recarbonation - Media Filtration - GAC - Chlorination | secondary effluent
Denver Potable Reuse Demonstration | CO | DPR | 1980 |  |  | 1 | 3785 | Demonstration Project | Rapid Mix - Flocculation - Recarbonation - Ballast Pond - Media Filtration - IEX - GAC - Ozone - UV - GAC - RO - Air Stripping - Chlorination | secondary effluent
Hueco Bolson Recharge Project, El Paso Water Utilities | TX | IPR | 1985 | GW | direct injection, spreading basins | 12 | 45420 | Operational | Primary Treatment - Secondary Treatment - PACT Filter - pH Adjustment - Media Filtration - Ozone - GAC - Chlorination - Storage | secondary effluent
Clayton County Water Authority | GA | IPR | 1985 | SW |  | 12 | 45420 | Operational | Constructed Wetlands | secondary effluent
City of Tampa Water Resource Recovery Project | FL | IPR | 1987 | GW | direct injection | 0.072 | 272.52 | Pilot study | Preaeration - Lime Addition - Recarbonation - Media Filtration - GAC - Ozone | secondary effluent
City of West Palm Beach Constructed Wetlands Demonstration Project | FL | IPR | 1996 | SW | wetlands | 0.15 | 567.75 | Demonstration Project | Coagulation - Niftrying Filters - Chlorination - Constructed Wetlands | secondary effluent
Gwinnett County | GA | IPR | 1999 | SW |  | 60 | 227100 | Operational | Chemical Clarification - Sedimentation - UF - Media Filtration - Ozone - BAF - Ozone | secondary effluent
Yelm Cochrane Memorial Park | WA | IPR | 1999 | SW | wetlands | 0.05 | 189.25 | Operational | Constructed Wetlands | tertiary effluent
City of Ephrata | WA | IPR | 2000 | GW | spreading basins | 0.6 | 2271 | Operational | Secondary Treatment - Coagulation - Media Filtration - UV | raw wastewater
Grant County Royal City | WA | IPR | 2000 | GW | spreading basins | 0.25 | 946.25 | Operational | Secondary Treatment - Coagulation - Rapid Mix - Cloth Disk Filter - UV | raw wastewater
Grant County Quincy Ciity | WA | IPR | 2002 | GW | spreading basins | 1.5 | 5677.5 | Operational | SBR - Coagulation - Media Filtration - UV | raw wastewater
Los Alamitos Barrier Water Replenishment (Leo J Vander Lans Water Treatment Facility) | CA | IPR | 2005 | GW | direct injection | 8 | 30280 | Operational | MF - RO - UV/AOP (H2O2) - Decarbonation - Chlorination | tertiary effluent
LOTT Cleanwater Alliance Hawk's Prairie Ponds | WA | IPR | 2006 | SW | wetlands, spreading basins | 1.5 | 5677.5 | Operational | Constructed Wetlands | tertiary effluent
City of Plantation Advanced Wastewater Treatment Pilot | FL | IPR | 2007 | SW |  | 0.0144 | 54.504 | Pilot study | MBR - BNR - RO - UV; Denitrifying Filters - UF - RO - UV | primary effluent
City of Sunrise Advanced Water Treatment and Reuse Pilot | FL | IPR | 2007 | GW |  | 0.0144 | 54.504 | Pilot study | BNR - MBR - RO - UV/AOP (Ozone); BNR - MBR - UV/AOP (Ozone); BNR - MBR - Coagulation - Media Filtration - UV/AOP (Ozone) | secondary effluent
Chino Basin Groundwater Recharge Project Inland Empire Utility Agency | CA | IPR | 2007 | GW | spreading basins | 18 | 68130 | Operational | Soil-aquifer Treatment | imported/tertiary blend
Miami-Dade County Coastal Wetlands Rehydration Demonstration Pilot | FL | IPR | 2009 | GW | direct injection | 0.1728 | 654.048 | Pilot study | Media Filtration - Chlorination - MF - RO - IEX - UV/AOP (H2O2) | secondary effluent
North Texas Municial Water District East Fork Water Reuse Project | TX | IPR | 2009 | SW |  | 90 | 340650 | Operational | Constructed Wetlands | surface water/blend
Arapahoe County Cottonwood | CO | IPR | 2009 | GW |  | 6 | 22710 | Operational | Riverbank Filtration - RO - UV/AOP (H2O2) - Air Stripping - Chlorination | tertiary effluent
Prairie Water Project Aurora | CO | IPR | 2010 | GW |  | 50 | 189250 | Operational | Riverbank filtration - Aquifer Recharge - Chemical Softening - UV/AOP (H2O2) - Media Filtration - GAC - Chlorination | surface water/blend
Town of Davie Advanced Water Treatment for Aquifer Recharge and Indirect Potable Reuse Pilot | FL | IPR | 2010 | GW | direct injection | 0.0216 | 81.756 | Pilot study | UF - RO - UV | secondary effluent
City of Tenino Class A Reclaimed Water Facility | WA | IPR | 2011 | GW | spreading basins | 0.375 | 1419.375 | Operational | MBR - Chlorination | raw wastewater
Airway Heights | WA | IPR | 2012 | GW | spreading basins | 1.5 | 5677.5 | Operational | Preliminary Treatment - Secondary Treatment - Tertiary Treatment - UV - Post Treatment | raw wastewater
Big Spring Colorado River Municipal Water District | TX | DPR | 2013 | SW | blending | 1.8 | 6813 | Operational | MF - RO - UV/AOP (H2O2) - Blending - Coagulation - Flocculation - Sedimentation - Chlorination | tertiary effluent
Western Reverse Land Conservancy Tangent WaterCycle | OH | DPR | 2013 | DD |  | 0.36 | 1362.6 | Demonstration Project | MBR - RO - UV/AOP (H2O2) - Post Treatment - Chlorination | raw wastewater
City of Hollywood Effluent Recharge Treatment Pilot | FL | IPR | 2013 | GW | direct injection | 0.0144 | 54.504 | Pilot study | Media Filtration - IEX - UV/AOP (H2O2) - BAC; Media Filtration - IEX - Ozone - BAC - UV | secondary effluent
Tarrant Regional Water District | TX | IPR | 2013 | SW |  | 90 | 340650 | Operational | Constructed Wetlands | surface water/blend
Wichita Falls Cypress Water Treatment Plant (DPR) | TX | DPR | 2014 | SW |  | 5 | 18925 | Decommisioned | MF - RO - UV - 50/50 SW Blend - Drinking Water Treatment | secondary effluent
Dominguez Gap Barrier Terminal Island, City of Los Angeles | CA | IPR | 2014 | GW | direct injection | 12 | 45420 | Operational | MF - RO - UV/AOP (H2O2) - Chlorination | tertiary effluent
Silicon Valley Advanced Purification Center | CA | IPR | 2014 | GW | direct injection | 8 | 30280 | Operational | MF - RO - UV/AOP (H2O2) | tertiary effluent
Orange County Groundwater Replenishment System | CA | IPR | 2014 | GW | direct injection | 100 | 378500 | Operational | MF - RO - UV/AOP (H2O2) - Decarbonation - Lime Addition | secondary effluent
West Basin Recycling Plant Groundwater Replenishment and Seawater Barrier | CA | IPR | 2014 | GW | direct injection | 12.5 | 47312.5 | Operational | MF - RO - UV/AOP (H2O2) - Decarbonation - pH Adjustment | secondary effluent
City of Tucson Potable Reuse Pilot | AZ | IPR | 2014 | SW |  | 0.0144 | 54.504 | Pilot study | Soil-aquifer Treatment - NF - Ozone - BAF | secondary effluent
Cambria Emergency Water Supply | CA | IPR | 2014 | GW | direct injection | 0.65 | 2460.25 | Operational | MF - RO - UV/AOP (H2O2) - Post Treatment - Chlorination | surface water/blend
Scottsdale Water Campus | AZ | IPR | 2014 | GW | direct injection | 20 | 75700 | Operational | Ozone - UF - RO - UV - Lime Addition - Decarbonation | tertiary effluent
City of Abilene Hamby Water Reclamation Facility and Indirect Reuse Project | TX | IPR | 2015 | SW |  | 22 | 83270 | Operational | MBR - RO - Ozone - BAF - Chlorination | raw wastewater
Ventura Pure Water | CA | DPR | 2015 | GW | direct injection | 0.0432 | 163.512 | Demonstration Project | Pasteurization - UF - RO - UV/AOP (H2O2) | tertiary effluent
Hillsborough County Direct Potable Reuse Demonstration | FL | DPR | 2016 | SW |  | 0.0288 | 109.008 | Demonstration Project | UF - RO - UV/AOP (H2O2) | tertiary effluent
City of Oxnard Advanced Water Treatment Facility | CA | IPR | 2016 | GW | direct injection | 6 | 22710 | Operational | MF - RO - UV/AOP (H2O2) - Decarbonation - Lime Addition | secondary effluent
Gwinett County Pilot Study | GA | DPR | 2016 | SW |  | 0.00864 | 32.7024 | Pilot study | Ozone - Rapid Mix - Flocculation - BAF - BAC - Chlorination | surface water/blend
San Francisco Public Utilities Commission PureWaterSF Research Project | CA |  | 2016 |  |  | 0.00144 | 5.4504 | Pilot study | UF - RO - UV - Chlorination | wetland effluent
City of Altamonte Springs pureALTA | FL | IPR | 2017 |  |  | 0.28 | 1059.8 | Pilot study | Ozone - BAC - UF - GAC - UV/AOP (H2O2) | tertiary effluent
Village of Cloudcroft DPR Project | NM | DPR | 2017 | DD | blending | 0.18 | 681.3 | Demonstration Project | MBR - Chlorination - Storage - RO - UV/AOP (H2O2) - Blending - UF - UV - GAC - Chlorination | raw wastewater
Wichita Falls Resource Recovery Facility | TX | IPR | 2018 | SW |  | 16 | 60560 | Operational | Cloth Disk Filter - Advanced Tertiary Treatment | secondary effluent
Texas A&M University Direct Potable Reuse Research & Demo | TX | DPR | 2018 |  |  | 0.0004896 | 1.8531 | Demonstration Project | GAC - Ozone - Chlorination - RO - UV | secondary effluent
City of Clearwater and the Southwest Florida Water Management District | FL | IPR | 2018 (Delayed) | GW | direct injection | 3 | 11355 | Not Built | UF - RO - UV/AOP (H2O2) - Microcontactor - Recarbonation - Lime Addition | tertiary effluent
Portland Clean Water Services Pure Water Brew | OR | DPR | 2018 | SW |  |  |  |  | UF - RO - UV/AOP (H2O2) | tertiary effluent
City of Daytona Beach Direct Potable Reuse Demo Test System | FL | DPR | 2019 | SW |  | 0.2 | 757 | Demonstration Project | UF - RO - UV/AOP (H2O2) | tertiary effluent
Big Bear Area Regional Wastewater Agency Replenish Big Bear | CA | IPR | 2019 | SW |  | 1.6 | 6056 | Not Built | Not yet determined | secondary effluent
Pure Water Oceanside | CA | IPR | 2019 | SW |  | 4 | 15140 | Not Built | MF - RO - UV/AOP (Cl) - Post Treatment | secondary effluent
City of Pismo Beach Central Coast Blue | CA | IPR | 2019 | GW | direct injection | 3.1 | 11733.5 | Not Built | MF - UF - RO - UV/AOP (H2O2) | secondary effluent
Metropolitan Water District of Southern California Regional Recycled Water Advanced Purification Center | CA | IPR | 2019 | GW | spreading basins | 0.5 | 1892.5 | Demonstration Project | MBR - RO - UV/AOP (H2O2) - Post Treatment | secondary effluent
Las Virgenes-Triunfo Join Powers Authority Pure Water Project | CA | IPR | 2019 | SW |  |  |  | Demonstration Project | UF - RO - UV/AOP (H2O2) | tertiary effluent
Carpinteria Valley Water District Advanced Purification Project | CA | IPR | 2020 | GW | direct injection | 1 | 3785 | Not Built | MF - UF - RO - UV/AOP (Cl) | secondary effluent
Soquel Creek Water District Pure Water Soquel | WA | IPR | 2020 | GW | direct injection | 1.3 | 4920.5 | Not Built | MF - RO - UV/AOP (H2O2) | tertiary effluent
Jacksonville Electric Authority Water Purification Treatment Demonstration Facility | FL | DPR | Future | GW | direct injection | 1 | 3785 | Demonstration Project | UF - LPRO - pH Adjustment - UV/AOP | secondary effluent
Hampton Road Sanitation District SWIFT Project | TX | IPR | Future | GW | direct injection | 1 | 3785 | Demonstration Project | Flocculation - Sedimentation - Ozone - BAF - GAC - UV - Chlorination - Post-Treatment | secondary effluent
Pure Water Monterey | CA | IPR | Future | GW | direct injection | 7 | 26495 | Not Built | Ozone - (BAF) - MF - RO - UV/AOP (H2O2) - Post Treatment | secondary effluent
El Paso Advanced Water Purification Facility | TX | DPR | Future | DD |  | 10 | 37850 | Not Built | MF - UF - RO - UV/AOP (H2O2) - GAC - Chlorination - Storage | secondary effluent
Groundwater Reliabiltiy Improvement Project (GRIP) | CA | IPR | Future | GW |  | 15 | 56775 | Not Built | MF - UF - RO - UV/AOP (Cl) - Post Treatment | tertiary effluent
Scottsdale Water Campus DPR Permit | AZ | DPR | Future | SW |  |  |  | Permit | UF - RO - UV - UV - GAC | advanced treated water
Laguna Madre Water District | TX | DPR | Future | SW |  | 1 | 3785 | Proposed | Not yet determined | secondary effluent
Palmdale Water District Groundwater Recharge and Recovery Project | CA | IPR | Future | GW | spreading basins | 46 | 174110 | Proposed | Soil-aquifer Treatment | surface water/blend
North City Pure Water Purification Facility (Phase 1) | CA | IPR | Future | SW |  | 30 | 113550 | Not Built | Ozone - BAF - MF - UF - RO - UV/AOP (H2O2) - Post Treatment - Chlorination | tertiary effluent
Donald C Tillman Water Reclamation Plant | CA | IPR | Future | GW | spreading basins | 25 | 94625 | Not Built | Ozone - BAC - UV/AOP (H2O2) | tertiary effluent
City of Brownwood | TX | DPR | Future | SW |  | 1.25 | 4731.25 | Proposed | Chlorination - UF - UV - Chlorination - Dechlorination - RO - GAC - UV - Chlorination | tertiary effluent
Kitsap County Kingston Recycled Water Project | WA | IPR | Future | GW | spreading basins | 0.5 | 1892.5 | Not Built | Soil-aquifer Treatment | tertiary effluent
Eastern Municipal Water District | CA | IPR | Future | GW | spreading basins | 11 | 41635 | Not Built | MF - RO - Ponds | tertiary effluent
East County Advanced Water Purification Program | CA | IPR | Future | GW | direct injection | 11.5 | 43527.5 | Not Built | MF - RO - UV/AOP (H2O2) - Chlorination | secondary effluent